## Sheet1
S. No | Problem Statement | Notes
1 | Cell culture incubator temperature out of range | A. Action on equipment: Check temperature settings and calibrate if necessary. Equipment Information: Model: Thermo Fisher Heracell VIOS 160i Description: CO2 incubator for cell culture B. Calibration Path: Navigate to Settings > Calibration > Temperature C. Startup type: Manual D. Equipment status: Monitoring E. Notify this issue by an email to LAB_SUPPORT LAB_SUPPORT@emailph4.aventis.com F. Assign the ticket to the laboratory equipment support group G. End
2 | Centrifuge imbalance detected | A. Action on equipment: Stop the run, check the rotor balance and redistribute samples. Equipment Information: Model: Eppendorf 5810R Description: Refrigerated centrifuge B. Calibration Path: Inspect and balance rotor before restarting C. Startup type: Manual D. Equipment status: Running E. Notify this issue by an email to CENTRIFUGE_SUPPORT CENTRIFUGE_SUPPORT@emailph4.aventis.com F. Assign the ticket to the laboratory equipment support group G. End
3 | Freezer temperature alarm triggered | Action on equipment: Verify door seal and temperature settings, adjust as needed. Equipment Information: Model: Panasonic MDF-U55V Description: -80°C Ultra-Low Temperature Freezer
4 | [Customer Service] - Handling a Product Return Request | Question: What is the process for handling a product return request? Answer: Handling a product return request involves several steps: 1) Receive Return Request: o Receive the return request from the customer via email, phone, or the customer service portal. 2) Verify Purchase: o Verify the customer’s purchase details in the Customer Management System (CMS). 3) Assess Return Eligibility: o Check if the product return falls within the company’s return policy. 4) Provide Return Instructions: o If the return is eligible, provide the customer with return shipping instructions and details. 5) Process Return and Refund: o Once the returned product is received, process the return and issue a refund to the customer. 6) Follow Up: o After processing the return, follow up with the Customer Service Team for status updates. o If urgent, contact the Customer Service Team directly via email or phone. Contact for Assistance: For any issues with handling the product return request, please contact the Customer Service Support Team at customerservice@company.com.
5 | PCR machine shows error code 403 during run | A. Action on equipment: Restart the PCR machine and check the connections. Equipment Information: Model: Bio-Rad C1000 Touch Description: Thermal cycler for PCR B. Path to restart: Power cycle the device using the main switch C. Startup type: Automatic D. Equipment status: Running E. Notify this issue by an email to PCR_SUPPORT PCR_SUPPORT@emailph4.aventis.com F. Assign the ticket to the molecular biology support group G. End